| **Daily EHS work list of February 2025** | **Date : 20-02-2025** |
| --- | --- |

| SL No | Location of work | PTW No & Activity | Assigned team | Findings |
| --- | --- | --- | --- | --- |
| 01. | CCB 16m | * WP20250208003 * Replaces Insulation & Cladding sheet, Scaffolding Erection & Dismantling. | * Insulation team |  |
| 02 | GT Air inlet Filter house & GCB rooftop | * WP20250216007   Earthing Installation in cantilever Electric Hoist Scaffold erection & dismantle | * Electrical team |  |
| 03 | BOP area | * WP20250206007 * Punch point closing work install proper shed for manual call point | * Electrical team |  |
| 04 | ST hall south side | * WP20250210007 * 00BFA30GH005A1001 crane power on & interior inspection & troubleshooting work with scaffolding platform erection dismantling by using scissor lift | * Boiler team |  |
| 05 | Cooling tower | * Wp20250216002 * Correct the closing position of the MOV of the cooling tower make up work. | * Boiler & turbine team |  |
| 06 | HRSG bottom | * WP20250213009 * HRSG top & bottom all instrument MOV valve make rain protection shed & cutting grinding | * Boiler Team |  |
| 07 | Air compressor Building back side | * WP20250215001 * General HOT work (cutting, grinding, welding) | * Turbine team |  |
| 08 | GT fuel gas filter skid | * WP20250220002 * Fire water deluge valve pressure indicator replacement work | * Turbine team |  |
| 09 | GT roof top | * WP20250212003 * Incomplete lader and make permanent barrier installation & cutting, grinding, welding. | * Boiler team |  |
| 10 | ST hall | WP20250220008  Inspection & maintenance for scissor lift | Turbine Team |  |